## SN_DATE
README
Paper calibration sheets are returned with the instrument and must be transposed onto this template and uploaded to CORIOLIX as "Calibration File(s)" to be read by the processing script. Upload digital copy of factory Cal Cert, as "Reference Sheet".
Calibration Date | [6 empty] | NOTES
Model Number |  |  |  | Firmware Version |  |  | Sheet is protected to discourage unnecessary changes, no password
Serial Number | [6 empty] | Update Blue Highlighted fields to match latest calibration certificate
Operator | [6 empty] | These Fields are used in the CORIOLIX Calibration script
Standard Lamp | [6 empty] | - Calibration Date
Sensor Operating Voltage Range: |  |  |  | to |  | VDC (+) | - Model Number
Output Polarity: | [6 empty] | - Serial Number
- Sensor Dark
- Calibration Scale Factor (Dry)
See CORIOLIX for naming schema and follow previous examples
- Category: Calibration File(s)
Sensor Output Voltage: | [6 empty] | - File Name: MODEL SN DATE
| Sensor Illuminated |  |  | mV | #DIV/0! |  | - Title: SENSOR_ID "Calibration File"
| Sensor Dark |  |  | mV
| Sensor Net Response |  |  | mV
| RG780 |  |  | mV
Corrected Lamp Output:
Output In Air (same condition as calibration):
uE/cm²sec
Calibration Scale Factor:
(To calculate irradiance, divide the net voltage reading in Volts by this value.)
| Dry: | #DIV/0! | Volts/(uE/cm²sec)
| Dry: | #DIV/0! | Volts/(uE/m²sec)
Notes:
1. Annual calibration is recommended.
2. Calibration is performed using a Standard of Spectral Irradiance traceable to the
National Institute of Standards and Technology (NIST).
3. To approximate the sensor's saturating irradiance, multiply the calibration factor
by the sensor power supply voltage, minus one volt.
4. The collector should be cleaned frequently with alcohol.